BME Homework Assignment 11

1)List three biomaterials commonly used for the following applications: (a) sutures, (b) heart valves, (c) endosseous dental root implants, (d) contact lenses, and (e) hip prosthesis. Provide the specific chemical name.

a) Sutures

- Marlex (polypropylene mesh)

- Periguard (bovine pericardium)

- Small intestinal submucosa (SIS)

b) ) heart valves

- Poly(tetrafluoroe-thylene)  PTFE

- Poly(ethylene terephthalate)  PET

- Poly(2-hydroxyethylmethacrylate) – PHEMA

c) endosseous dental root implants

- Zirconia (Zirconium dioxide)

- Titanium-zirconium alloy (Straumann Roxolid) (TiZr)

- Titanium alloys (Ti6Al4V)

d) Contact Lenses

- poly(HEMA)-based hydrogels (poly(2-hydroxyethyl methacrylate))

- 2-methacryloyloxyethyl phosphorylcholine

- methacryloxypropyl tris(trimethysiloxy silane) combined with Fluoromethacrylates

- ethylene glycol monogethacrylate

e)Hip Prosthesis

- biphasic calcium phosphate BCP

- Gpoly(dl-lactide-co-glycolide) DLPL

- Polyetheretherketone PEEK

- When selecting a biomaterial to be used an orthopedic implant, what are some of the properties or characteristics of the material that should be considered?

Answer: Numerous properties and characteristics must be kept in mind when choosing a material.  Some of these include the mechanic loading requirement of the area and the stresses and strains that occur in that area, the chemical and structural properties of the material itself, and the biological requirement of the area.  The materials selection process must also incorporate the chemical and mechanical demands of the biologic environment have a functional outcome.  A material must also satisfy the simple manufacturing and marketing requirements including a reasonable cost, ability to be fabricated, and ease of function.  The requirements of materials fall into categories including: clinical, manufacturing, and economic.  The clinical requirements are that the material must have suitable mechanical properties to fulfill its function of fixation and maintenance of fracture reduction. Additionally, the material must not degrade in response to the corrosive conditions of the biologic environment.  Manufacturing requirements indicate that the material should have properties that permit fabrication in the optimum design configuration, while cost requirements, although not as critical, must be considered to compete with other, albeit less effective, forms of fracture fixation or treatment.

- Which of the following are NOT characteristics of an implant or prosthesis?

a) Man-made material or device

b) Living tissue or organ

c) Inserted or embedded in the body

d) Used to augment or replace a part of the body

e) Elicits an immune response

- Failure of implants, devices or prostheses may be due to which of the following factors?

a) They cannot self-repair

b) They can adapt to new physiological loads

c) The interface may deteriorate

d) Changes to tissues at the implant interface

e) Mismatch of biomechanics at the tissue–implant interface

- Which of the following statements regarding the mechanical properties of metals is NOT correct?

a) Stress is force per area with units of pascals (Pa).

b) Deformation of a material is called strain, with units of cm/cm, or %.

c) When a metal is loaded, the stress–strain relationship is initially linear and is called plastic deformation.

d) The ratio of stress to strain in the linear portion of a stress–strain curve is called the Young’s elastic modulus.