Problem 1: Buck Converter Duty Cycle

Problem Statement

A buck converter steps down 24 V DC to 12 V DC (ideal case). Find duty cycle D.

Solution

For an ideal buck converter:

Vout = D Vin

D = Vout/Vin = 12/24 = 0.5

Final Answer

Duty cycle D = 0.5 (50%).

Problem 2: Induction Motor Slip

Problem Statement

A 4-pole induction motor is supplied by 60 Hz power and runs at 1725 rpm. Find synchronous speed and slip.

Solution

Synchronous speed:

Ns = 120f/P = 120×60/4 = 1800 rpm

Slip:

s = (Ns − Nr)/Ns = (1800 − 1725)/1800

s = 75/1800 = 0.0417 = 4.17%

Final Answer

Ns = 1800 rpm and slip ≈ 4.17%.

Problem 3: Three-Phase Rectifier (Average DC Output Voltage)

Problem Statement

A 3-phase, 6-pulse diode bridge rectifier is supplied from a 400 V (line-line rms) source. Estimate average DC output voltage Vdc. Use Vdc ≈ 1.35 VLL.

Solution

Vdc ≈ 1.35 VLL

Vdc ≈ 1.35×400 = 540 V

Final Answer

Average DC output voltage ≈ 540 V.